## Fire safety checklist
Fire safety checklist
Free fire safety checklist template for restaurants, bars and hotels. Printable PDF and Excel, split into daily, weekly, monthly and annual checks with sign-off.
Venue / site
Month / period
Responsible person
Fire risk assessment date
Check | OK (Initials) | Date | Action taken / by whom
DAILY — DUTY MANAGER WALK ROUND
All fire exits unlocked, unobstructed and openable from the inside
Escape routes and corridors clear — no deliveries, stock or bins in the way
Fire doors closed and not wedged, propped or tied open
Exit signage visible and illuminated
Extinguishers in their designated positions and not blocked
No cardboard, packaging or waste stored against the building or exits
Kitchen extraction filters clean; no visible grease build-up on canopies
Fryers, grills and equipment turned off at close and left clear of combustibles
WEEKLY
Fire alarm tested from a call point, using a different point each week
Test result and call point reference recorded
Staff aware a test took place; any faults reported to the alarm contractor
Emergency lighting visually checked for failed units
Assembly point clear and accessible
Fire action notices in place, legible and showing the correct assembly point
MONTHLY
All extinguishers visually inspected: seals intact, gauge in the green, no damage
Fire blanket present, clean and correctly stowed in the kitchen
Fire door closers and seals checked; damaged doors reported
Emergency lighting flick test carried out and recorded
Fire evacuation plan reviewed against any layout changes
New staff since last month confirmed as inducted in fire procedure
ANNUAL OR BY CONTRACTOR — RECORD THE LAST DATE
Extinguisher service by a competent person — date and certificate reference
Kitchen fire suppression system serviced — date and certificate reference
Extraction ductwork deep cleaned to standard — date and certificate reference
Emergency lighting full duration test — date and result
Fire alarm system serviced — date and certificate reference
Fire risk assessment reviewed — date and by whom
Fire drill carried out with staff — date, time to evacuate, issues found
Electrical installation and portable appliance testing — date and reference
• This checklist records checks. It does not replace a fire risk assessment or tell you what your own jurisdiction requires.
• Anything you cannot fix on the shift goes in the action column with a name against it, and is escalated the same day.
• Keep contractor certificates filed with the sheet — a recorded date with no certificate behind it is worth very little after an incident.
Free template from Rotahr — rota, HACCP, stock and payroll in one app. rotahr.com/templates